PARAMOUNT THEATRE LIGHTING INVENTORY

LIGHTING CONSOLE (located in booth)

ETC ION W 2x20 Fader Wing

    1 – IPAD TO USE AS WIRLESS REMOTE DEVICE

178  -  750 ETC SOURCE FOUR LEKO BODIES

  16  -  575 W ETC SOURCE FOUR LEKO BODIES

    4  -   10 degree LENS TUBES

  20  -   14 degree LENS TUBES

  42  -   19 degree LENS TUBES

  44  -   26 degree LENS TUBES

  88  -   36 degree LENS TUBES

  30  -   50 degree LENS TUBES

    2  -   90 degree LENS TUBES

  92  -   750W ETC SOURCE FOUR PARS W/LENS KITS

  12  -   STRAND 8” FRESNELS @ 1,500W EA.
  12  -   ALTMAN PAR 64’s @ 1,000W EA.

  18  -   SECTIONS OF ALTMAN 3 CELL/COLOR ECONO CYS @650W PER CELL

            (10 Sections have hanging hardware remaining sections are used as ground row)

  36  -   COLORBLAST TRX 12 LED UNITS W/4 POWER SUPPLIES

    2  -   LYCIAN 3K FOLLOWSPOTS (in booth)

    2  -   STRONG SUPER TROUPERS

256  -   20AMP DIMMABLE STAGE LIGHTING CIRCUITS

             (160 dual modules installed STRAND)

             INSTALLED “ACN” ALLOWS FOR MULTIPLE USE OF ADDITIONAL        
             “UNIVERSES”

             THE PARAMOUNT DOES NOT OWN MOVING LIGHTS

              (has a nice supply of ROSCOE & LEE FILTERS)

              THE PARAMOUNT DOES OWN THE FOLLOWING….

    24  -   OCEAN OPTICS SEA CHANGERS

    24  -   APOLLO MXR COLOR SCROLLERS W-4 POWER SUPPLIES

      1  -   WATER BASED HAZER

      6  -   10’ high BLACK “DANCE” BOOMS

      3  -   APOLLO DMX IRIS

              600 AMP 3 PHASE COMPANY SWITCH (located SL) 

               (This same power is used for the ETC 96 SENSOR RACK)

              200 AMP 3 PHASE ISOLATED POWER FOR SOUND (located SR)

MORE YOU SHOULD KNOW ABOUT PARAMOUNT LIGHTING

        FOH CEILING SLOT CONTAINS 18 HARD WIRED CIRCUITS

        EACH BOX BOOM (1-SL / 1-SR) CONTAINS 12 CIRCUITS

1ST ELECTRIC HAS 24 HARDWIRED CIRCUITS AND IS ON A        MOTORIZED WINCH

2ND, 3RD & 4th ELECTRICS TYPICALLY CONTAIN 24 CIRCUITS

5TH ELECTRIC TYPICALLY CONTAINS 12 CIRCUITS

WHEN NOT IN “BROADWAY” SEASON, THE PARAMOUNT TYPICALLY SPORTS A 3 COLOR WASH W/SPECIALS AND AREA LIGHT - “REP LIGHT PLOT.”  VERY USEFUL FOR SMALL SHOWS, POP/ROCK SHOWS AND DANCE PROGRAMS.
